## Slide 1
The Real Dirt on LIGO
Fred Raab,
06-Dec-19

## Slide 2: Main messages
A new era of Gravitational-Wave Astrophysics (GWA) has dawned with great fanfare, but more importantly, it is poised to rapidly accelerate.
The rate of discovery over the next decades and the science that can be extracted from these discoveries will be accelerated by an international community of experimental physicists and engineers developing better understanding of detector physics and new detector technologies.
India will be an important stage for these developments.

## Slide 3: Detectors of Gravitational Waves
No Law of Physics Forbids Them

## Slide 4: Basic idea for detection is simple
GW amplitude h = (Rx-Ry)/R
It takes longer for light to travel the longer arm path, which allows light to reach the detector.
When the arm lengths are equal, no light reaches the detector.

## Slide 5: You now know almost everything you need to know about General Relativity to contribute to accelerating the rate of discovery in Gravitational-Wave Astronomy.

## Slide 6: Rate of discovery ~ (Noise reduction)3
R. Adhikari

## Slide 7: What Limits Sensitivity of Interferometers?
Seismic noise & vibration limit at low frequencies
Brownian (Thermal) Noise inside components limits at mid frequencies
Quantum nature of light (Shot Noise) limits at high frequencies
Myriad details of the lasers, electronics, etc., can make problems above these levels
DESIGN
COMMISSIONING

## Slide 8
“Theory and practice are the same in theory. In practice, they’re different.”
- Yogi Berra

## Slide 9: Principal noise terms (by design, based on theory)

## Slide 10: Noise terms (in practice)

## Slide 11: Optical configuration
Complete detector description in Class. Quantum Grav. 32 (2015) 074001

## Slide 12: Evacuated Beam Tubes Provide Clear Path for Light
P< 10-9 Torr
Portable power supply for bakeout

## Slide 13: Vacuum Chambers Provide Quiet Homes for Mirrors
View inside Corner Station
Standing at vertex beam splitter

## Slide 14: BSC Internal Seismic Isolator

## Slide 15
Advanced LIGO Monolithic Suspension

## Slide 16: Advanced LIGO installation in progress
17-Aug-11

## Slide 17: Putting it together: Seismic & Suspension & Optics
Seismic isolation
Folding mirror suspension
Test mass suspension

## Slide 18: Lock Acquisition: Arm Locking Subsystem

## Slide 19: aLIGO Pre-stabilized laser

## Slide 20: What could possibly go wrong?
A Case Study

## Slide 21: Quantum Noise is Fundamental, Caused by Vacuum Fluctuations
Laser
C Caves (1981) Phys. Rev. D 23, 1693
EM Vacuum Fluctuations Cause Shot Noise and Radiation Pressure Noise

## Slide 22: Nothing Is Easy: Classical Challenges to High-Power Operation
Thermal lensing and compensation
R Lawrence et al (2004)
Opt Lett 29(22)2635-2637
J Sidles, D Sigg, Phys. Lett. A.
354, 167-172 (2006)
Angular radiation pressure
instabilities
M Evans et al (2015) Phys. Rev. Lett. 114, 161102
Parametric instabilities

## Slide 23: Vacuum squeezing: a partial work-around
Laser
LIGO Scientific Collaboration, Nature Photonics 2013
doi:10.1038/nphoton.2013.177

## Slide 24
https://physics.aps.org/

## Slide 25: Other technical solutions needed
Eliminate point absorbers in mirror coatings
Improve robustness to tolerances in optical designs
Identify and mitigate scattering
Improve adaptive servo designs using auxiliary channels
Improve interferometer alignment systems

## Slide 26: The future

## Slide 27
27
27
The advanced GW detector network:
2015-2025
GEO600 (HF)
2011
Advanced LIGO
Hanford
2015
Advanced LIGO
Livingston
2015
Advanced
Virgo
2017
LIGO-India
2025 2026
KAGRA
2020

## Slide 28: The longer journey of exploration
Extending the reach of GW detectors
  The path traveled by LIGO’s detected waves expanded by a few times 10% as the universe expanded since the waves were launched.
  We can now imagine how to develop detectors to observe the universe when it was tens of times smaller and the first generations of stars were forming and dying.
  We now know that somewhere in the universe black holes mergers occur many times each hour and eventually we could observe each one.
Extending the spectrum of gravitational-wave observations.

## Slide 29: Upgrade possibilities
Exploring the sensitivity of next generation gravitational wave detectors (2017) CQG 34, 044001; www.et-gw.eu
Notes: Adapted from Lisa Barsotti’s DAWN-IV presentation.

## Slide 30: Technological path to the future
Advanced LIGO is limited by quantum noise & mirror coating Brownian noise
Squeezed vacuum can reduce quantum noise
  A+ will implement frequency-independent squeezing
Options for Brownian noise:
  Better mirror coatings (high optical quality; low mechanical losses) – see talk by Stuart Reid
  Cryogenic operation (new mirror materials & coatings, new lasers, photo-detectors, vacuum-squeezers, etc.)
  Longer arms (new longer-arm observatory facilities)

## Slide 31: A better work-around: frequency-dependent squeezing
M Evans et al, (2013) PRD 88 022002
Original idea: J Kimble et al (2001) Phys. Rev. D 65, 022002
Practical designs: T Corbitt et al (2004) Phys. Rev. D 70, 022002
Demonstration in regime applicable to LIGO: E Oelker et al (2016) Phys. Rev. Lett. 116, 041102

## Slide 32
Credit: NASA

## Slide 33: Summary: some useful links
Instrument Science White Paper:
https://dcc.ligo.org/LIGO-T1900409/public
Advanced LIGO Detector paper:
https://dcc.ligo.org/LIGO-P1400177/public
aLIGO Document Tree:
https://dcc.ligo.org/LIGO-E1200123/public
LHO alog:
https://alog.ligo-wa.caltech.edu/aLOG
LLO alog:
https://alog.ligo-la.caltech.edu/aLOG