## Slide 1: Thermal Noise in GW detectors and everywhere
Koji Arai – LIGO Laboratory / Caltech
LIGO-G2000770

## Slide 2: Laser interferometer GW detectors and noises
Who am I: Koji Arai LIGO Scientist - Interferometer Sensing & Control
Optics
Mechanics
Electronics
Displacement
noise
Optical
noise
Electrical noise
My view of a laser interferometer GW detector

## Slide 3: Laser interferometer GW detectors and noises
Who am I: Koji Arai LIGO Scientist - Interferometer Sensing & Control
My view of a laser interferometer GW detector
Optics
Mechanics
Electronics
Displacement
noise
Optical
noise
Electrical noise
Thermal noise

## Slide 4: Thermal Noise
Examples 1 Brownian Motion - A. Einstein (1905)
By Lookang Author of computer model: Francisco Esquembre, Fu-Kwun and lookang - Own work, CC BY-SA 3.0, https://commons.wikimedia.org/w/index.php?curid=19140345
μ: mobility (∝ 1/η <-viscosity)

## Slide 5: Thermal Noise
Examples 2 Johnson-Nyquist Noise of a resistor (R)
V
R

## Slide 6: Thermal Noise
Examples 3 Mechanical system (harmonic oscillator) with damping
Thermal excitation: kB T/2 for K.E. and P.E.
(equipartition of energy)
x
k
𝛾

## Slide 7: Thermal Noise
Mirror substrate T.N.
Coating T.N.
Thermo-optic noise
Suspension T.N.
Thermal noise in electrical systems
Thermal noise in optical sensors
photodiode

## Slide 8: Thermal Noise
There is a single principle behind them:
  “Fluctuation Dissipation Theorem”
Our goal here is to become able to: - quantify the amount of thermal noise - know how to reduce / isolate the noise
To know your dissipation -> To know how much the fluctuation

## Slide 9: Noise
Time series x(t)
RMS
mean
root mean square (RMS)
mean square
mean

## Slide 10: Introduction ~ Noise?
Frequency Domain
Power Spectral Density (PSD) Double sided PSD (-Infinity < f < Infinity)
Single sided PSD (0 <= f < Infinity) [xunit2 / Hz]
Linearized PSD (Amplitude Spectral Density): [xunit/ sqrtHz]

## Slide 11: Introduction ~ Noise?
Parseval’s Theorem for signal RMS and PSD
Notes: \langle x^2(t)\rangle = \int_0^\infty S_x(f) {\rm d} f

## Slide 12: Fluctuation Dissipation Theorem
Thermal
excitation
heat
bath
  Thermal equilibrium: Thermal excitation by the heat bath
Energy
dissipation
  Excited system: Energy dissipation to the heat bath
Same coupling
=

## Slide 13: Approaches
1) Inject known amount of fluctuation -> Calculate the transmission to the target motion
2) Calculate/measure the frequency response of the target object -> Calculate the thermal noise spectrum
3) Calculate the energy loss rate of the forced oscillation
Fluctuation is gaussian stochastic noise
=> better to use freqeuncy domain

## Slide 14: Method 1: Fluctuation injection
Dissipation and fluctuation have a relationship
Add fluctuation force whose PSD is proportional to R
Equation of Motion
deterministic

## Slide 15: Method 1: Fluctuation injection
Most suitable example: Circuit noise analysis
RC circuit:

## Slide 16: Method 1: Fluctuation injection
Voltage noise <-> Current noise

## Slide 17: Method 2: Transfer Function Approach
For a complicated system: e.g.
  Multiple losses / Multiple masses
Transfer function approach
Displacement x caused by Force F
Notes: H(\omega) = \frac{\tilde{x}(\omega)}{\tilde{F}(\omega)}\,\,\,\left(=\frac{\tilde{Q}(\omega)}{\tilde{V}(\omega)}\right)
Z(\omega) = \frac{\tilde{F}(\omega)}{\tilde{v}(\omega)} \,\,\,\left(= \frac{\tilde{V}(\omega)}{\tilde{I}(\omega)}\right)
S_x(\omega) = - \frac{4 k_{\rm B} T\,{\rm Im}[H(\omega)]}{\omega}
= \frac{4 k_{\rm B} T\,{\rm Re}[1/Z(\omega)]}{\omega^2}
Y(\omega) = \frac{1}{Z(\omega)}

## Slide 18: Method 2: Transfer Function Approach
Example: Velocity damping of a pendulum
Notes: m \ddot{x} + \Gamma \dot{x} + m \omega_0^2 x = f
-m \omega^2 \tilde{x} + i \omega \Gamma \tilde{x}+m \omega_0^2 \tilde{x} = \tilde{f}
H(\omega) = \frac{\tilde{x}}{\tilde{f}} = \frac{1}{m(\omega_0^2-\omega^2) + i \omega \Gamma}
= \frac{4 k_{\rm B} T \Gamma}{m^2 (\omega_0^2-\omega^2)^2 + (\omega \Gamma)^2}
H(\omega) = \frac{\tilde{x}}{\tilde{f}} =
\frac{1}{m(\omega_0^2-\omega^2) + i \omega \Gamma}
S_x(\omega) = -\frac{4 k_{\rm B} T}{\omega} {\rm Im}[\frac{1}{m(\omega_0^2-\omega^2) + i \omega \Gamma}]
= \frac{4 k_{\rm B} T\,\Gamma}{m^2 (\omega_0^2-\omega^2)^2 + (\omega \Gamma)^2}

## Slide 19: Method 2: Transfer Function Approach
What happens if the loss has
an arbitrary frequency dependence 𝜙(ω) ?
- Velocity damping of a pendulum
- Structure damping
loss angle: 0 < 𝜙0 ≪ 1
Notes: m \ddot{x} + m \omega_0^2 (1+{\rm i} \phi_0) x = f
m \ddot{x} + m \omega_0^2 [1+{\rm i} \phi(\omega)] x = f

## Slide 20: Method 2: Transfer Function Approach
arbitrary 𝜙(ω)
Check equipartition of energy
Notes: H(\omega) = \frac{1}{m(\omega_0^2-\omega^2) + {\rm i} m \omega_0^2 \phi(\omega)}
{\color[rgb]{0.131345,0.999677,0.023624}H_R(\omega) = \frac{2}{\pi} \mathcal{P} \int_{0}^{\infty} {\frac {\omega' H_I(\omega')} {{\omega'}^2 - \omega^2}} \, d\omega'
}
\frac{1}{2} k \langle x^2 \rangle & = \frac{m \omega_0^2}{2}\times\frac{1}{2 \pi}\int_0^{\infty} - \frac{4 k_{\rm B} T}{\omega} {\rm Im}[H(\omega)] {\rm d} \omega \\
& = - \frac{m \omega_0^2 k_{\rm B} T}{\pi} \int_0^{\infty} \frac{1}{\omega} {\rm Im}[H(\omega)] {\rm d} \omega \\
& = \frac{m \omega_0^2 k_{\rm B} T}{\pi} \frac{\pi}{2} {\rm Re}[H(0)] \\
& = \frac{k_{\rm B} T}{2}
\frac{1}{2} k \langle x^2 \rangle & = \frac{m \omega_0^2}{2}\times\frac{1}{2 \pi}\int_0^{\infty} - \frac{4 k_{\rm B} T}{\omega} {\rm Im}[H(\omega)] {\rm d} \omega \\
& = - \frac{m \omega_0^2 k_{\rm B} T}{\pi} \int_0^{\infty} \frac{1}{\omega} {\rm Im}[H(\omega)] {\rm d} \omega \\
& = \frac{m \omega_0^2 k_{\rm B} T}{\pi} \frac{\pi}{2} {\rm Re}[H(0)] \\
& = \frac{k_{\rm B} T}{2}

## Slide 21: Method 2: Transfer Function Approach
Thermal noise displacement of a harmonic oscillator

## Slide 22: Method 3: “Direct” Approach
Another approach for a complicated system: Energy loss rate for a forced oscillation -> Calculate the fluctuation
Systems response (impedance) at a certain freq:
Average rate of energy dissipation
We don’t need to
know Z(ω)!

## Slide 23: Method 3: “Direct” Approach
Sensing of the mirror surface deformation with a laser beam (with intensity profile of f(r))
Apply periodic pressure with profile of f(r)
This induces deformation of x(r) which is different
from our sensing profile of f(r), but that’s OK
Calculate the rate of dissipation Wdiss
analytically, using FEA, or etc
Put this into the following formula
We don’t need to
know Z(w)!
Y. Levin PRD 57, 659-663 (1998)

## Slide 24: Method 3: “Direct” Approach
Simple case

## Slide 25: Method 3: “Direct” Approach
Different loss process -> different thermal noise
We don’t need to
know Z(w)!

## Slide 26: Blank

## Slide 27: Pendulum with Coil Magnet
Question
  Induced current damping (electro-mechanical system) 1. How does the Q factor of the system depend on R? 2. How much is the thermal noise displacement of the mass? 3. How does the thermal noise of the resistor shakes the mass? 4. How are the above questions with a capacitive coupling instead of the coil?
  Cold damping 1. If the resistor is cooled, how does the thermal noise motion change? 2. Is the pendulum actually cooled? Down to what temperature? 3. How fast the pendulum recovers the original temperature once R is returned to the room temp.?
We don’t need to
know Z(w)!

## Slide 28: Blank

## Slide 29: Approach 1: Fluctuation injection
Example: Brownian motion

## Slide 30: Approach 1: Fluctuation injection
Example: Brownian motion

## Slide 31: Approach 1: Fluctuation injection
RC circuit:
Dissipation anPSD) of the fluctuation force

## Slide 32: Approach 1: Fluctuation injection
Example: harmonic oscillator with loss
Viscous damping: friction proportional to the velocity

## Slide 33: Method 2: Transfer Function Approach
Question:
- Velocity damping of a pendulum

## Slide 34: Noise in photodetectors
Photodiodes
  PIN photodiodes (InGaAs for near IR, Si for visible)
    Good linearity
    Low noise
    High Quantum Efficiency (>90%)
InGaAs Quadrant PD
(𝜙3mm)
InGaAs PD (𝜙1mm)
P-layer
I-layer
N-layer
Anode
Cathode
“Photodiode Amplifiers”, J. Graeme (McGrawHill 1995)
Photocurrent

## Slide 35: Noise in photodetectors
input referred noise current
Noise in photodiodes
  Photodiode equivalent circuit
    Shunt Capacitance RD (~100MΩ) Usually not a problem
    Junction Capacitance CD (1pF~1nF)
    Series Resistance RS (1Ω~100Ω)
  The diode aperture size needs to be ~mm => Cd tends to be big.
  2mm InGaAs PD: Rs~10Ω, Cd~100pF => i_Rs = 20 pA/sqrtHz @100MHz
  (equivalent to the shot noise of 1mA light ~ 1.3mW@1064nm)