## Slide 1: Homodyne Quadrature Interferometer - HoQI
Alexandra Mitchell

## Slide 2: What is it?
Homodyne – one frequency of light
Quadrature – uses multiple readouts and birefringent (polarisation changing) elements (eg half/quarter waveplates) to measure changes which are sub-wavelength
Interferometer – measures relative length changes using the interference of light
Michelson interferometer (eg LIGO) 
Mach-Zehnder interferometer (eg HoQI)

## Slide 3: Basic optics
Polarisation – the orientation of oscillations (in light waves)
S polarisation – electric field polarized perpendicular to the plane of incidence
P polarisation – electric field polarized parallel to the plane of incidence
Half waveplate – rotates polarization orientation, introduces phase shift of π
Quarter waveplate – makes linearly polarized light elliptical, introduces phase shift of π/2

## Slide 4
Filters polarisation so we have one input polarisation (use transmission as better extinction ratio)
Rotates polarisation so that there is 50:50 s:p polarisation
Because there is equal power in s:p the polarising beamsplitter splits the beam equally and each arm has one polarisation state
When L2 and L1 are not the same, a phase difference is introduced

## Slide 5
Introduces phase delay to one polarisation/beam from one arm of λ/4
As the beams are in orthogonal polarisation states, they do not interfere here
Sin
Cos
-Cos
Rotates polarisation

## Slide 6
Photodiode measurements
Extracting
Manipulation
Extracting from HoQI
Notes: Mention terms in the equations: FV, power, phase

## Slide 8
Temperature,
Air Pressure
Table mechanical
resonance
Frequency /
Electronic Noise
S Cooper et.al Class. Quantum Grav. 35 (2018) 095007

## Slide 9
Cooper 2018, https://arxiv.org/abs/1710.05943

## Slide 10
Extra, unknown noise
x5

## Slide 11: HoQI in LIGO
Cylindrical rotation sensors
  HoQI is the readout mechanism for these new, compact rotation sensors
  Want to install these on top of the suspensions in LIGO to measure tilt and correct for this
Suspensions
  Due to their lower noise floor compared to current sensors (OSEMs) they can be used to measure and damp suspension motion

## Slide 13: Currently in use…
Measuring IM in AEI 10m prototype beamsplitter suspension
Readout of Birmingham 6D experiment
https://dcc.ligo.org/LIGO-G2300542
Cylindrical rotation sensor readout at UW
Laser frequency stabilisation experiment in Amsterdam