## DB9MF
Cable Type | Twisted Pair | Item | Manufacturers Part Number | Digikey Part Number
Wire Guage | 24 AWG | Backshell | 8655MH0901BLF | 609-3129-ND
Shield Type | Shielded | Backshell | 8655MH2501BLF | 609-3131-ND
Manufacturer | best available | Male Connector | 1757819-6 | A34455-ND
Part Number |  | Female Connector | 1757820-8 | A34458-ND
Connector Type P1: | DB9M
Connector Gender P1: | Male, PN 1757819-6
Shield of P1: | Shield to Backshell
Connector Type P2: | DB25F
Connector Gender P2: | Female, PN 1757820-8
Shield of P2: | Connect to pin 13, not to the sheild
Pinning Information:
P1 pin 1 to P2 pin 1 | Twisted Pair 1
P1 pin 2 to P2 pin 2 | Twisted Pair 2
P1 pin 3 to P2 pin 3 | Twisted Pair 3
P1 pin 4 to P2 pin 4 | Twisted Pair 4
P1 pin 5 to P2 pin 5 | Connect
P1 pin 6 to P2 pin 14 | Twisted Pair 1
P1 pin 7 to P2 pin 15 | Twisted Pair 2
P1 pin 8 to P2 pin 16 | Twisted Pair 3
P1 pin 9 to P2 pin 17 | Twisted Pair 4
Also P2 pin 13 | Connect to cable shield (see pic)
Cable Number | Cable length
Total Length = | 0
Notes
1) An individual cable name label on each end of the cable.
2) All ground to back shell connections will need to be soldered to the back shell instead of just being clamped.
3) Mark each end either "Shield Terminated" or "Shield Not Terminated"

## DB15MF
Cable Type | Twisted Pair | Item | Manufacturers Part Number | Digikey Part Number
Wire Guage | 24 AWG | Backshell | 8655MH1501BLF | 609-3130-ND
Shield Type | Shielded | Backshell | 8655MH2501BLF | 609-3131-ND
Manufacturer | best available | Male Connector | 1757819-7 | A34457-ND
Part Number |  | Female Connector | 1757820-8 | A34458-ND
Connector Type P1: | D15M
Connector Gender P1: | Male, PN 1757819-7
Shield of P1: | Shield to Backshell
Connector Type P2: | D25F
Connector Gender P2: | Female, PN 1757820-8
Shield of P2: | Connect to pin 13, not to the sheild
Pinning Information:
P1 pin 1 to P2 pin 1 | Twisted Pair 1
P1 pin 2 to P2 pin 2 | Twisted Pair 2
P1 pin 3 to P2 pin 3 | Twisted Pair 3
P1 pin 4 to P2 pin 4 | Twisted Pair 4
P1 pin 5 to P2 pin 5 | Twisted Pair 5
P1 pin 6 to P2 pin 6 | Twisted Pair 6
P1 pin 7 to P2 pin 7 | Twisted Pair 7
P1 pin 8 to P2 pin 8 | Connect
P1 pin 9 to P2 pin 14 | Twisted Pair 1
P1 pin 10 to P2 pin 15 | Twisted Pair 2
P1 pin 11 to P2 pin 16 | Twisted Pair 3
P1 pin 12 to P2 pin 17 | Twisted Pair 4
P1 pin 13 to P2 pin 18 | Twisted Pair 5
P1 pin 14 to P2 pin 19 | Twisted Pair 6
P1 pin 15 to P2 pin 20 | Twisted Pair 7
Also P2 pin 13 | Connect to cable shield (see pic)
Cable Number | Cable length (ft)
Total Length = | 0
Notes
1) An individual cable name label on each end of the cable.
2) All ground to back shell connections will need to be soldered to the back shell instead of just being clamped.
3) Mark each end either "Shield Terminated" or "Shield Not Terminated"

## DB25MF
Cable Type | Twisted Pair | Item | Manufacturers Part Number | Digikey Part Number
Wire Guage | 24 AWG | Backshell | 8655MH2501BLF | 609-3131-ND
Shield Type | Shielded | Male Connector | 1757819-8 | A34459-ND
Manufacturer | best available | Female Connector | 1757820-8 | A34458-ND
Part Number
Connector Type P1: | D25M
Connector Gender P1: | Male, PN 1757819-8
Shield of P1: | Shield to Backshell
Connector Type P2: | D25F
Connector Gender P2: | Female, PN 1757820-8
Shield of P2: | Cut, No Connection
Pinning Information:
P1 pin 1 to P2 pin 1 | Twisted Pair 1
P1 pin 2 to P2 pin 2 | Twisted Pair 2
P1 pin 3 to P2 pin 3 | Twisted Pair 3
P1 pin 4 to P2 pin 4 | Twisted Pair 4
P1 pin 5 to P2 pin 5 | Twisted Pair 5
P1 pin 6 to P2 pin 6 | Twisted Pair 6
P1 pin 7 to P2 pin 7 | Twisted Pair 7
P1 pin 8 to P2 pin 8 | Twisted Pair 8
P1 pin 9 to P2 pin 9 | Twisted Pair 9
P1 pin 10 to P2 pin 10 | Twisted Pair 10
P1 pin 11 to P2 pin 11 | Twisted Pair 11
P1 pin 12 to P2 pin 12 | Twisted Pair 12
P1 pin 13 to P2 pin 13 | Connect
P1 pin 14 to P2 pin 14 | Twisted Pair 1
P1 pin 15 to P2 pin 15 | Twisted Pair 2
P1 pin 16 to P2 pin 16 | Twisted Pair 3
P1 pin 17 to P2 pin 17 | Twisted Pair 4
P1 pin 18 to P2 pin 18 | Twisted Pair 5
P1 pin 19 to P2 pin 19 | Twisted Pair 6
P1 pin 20 to P2 pin 20 | Twisted Pair 7
P1 pin 21 to P2 pin 21 | Twisted Pair 8
P1 pin 22 to P2 pin 22 | Twisted Pair 9
P1 pin 23 to P2 pin 23 | Twisted Pair 10
P1 pin 24 to P2 pin 24 | Twisted Pair 11
P1 pin 25 to P2 pin 25 | Twisted Pair 12
Also P2 pin 13 | Connect to cable shield (see pic)
Cable Number | Cable length (ft)
Total Length = | 0
Notes
1) An individual cable name label on each end of the cable.
2) All ground to back shell connections will need to be soldered to the back shell instead of just being clamped.
3) Mark each end either "Shield Terminated" or "Shield Not Terminated"