## Slide 1
LIGO – What goes into a GW detector
Dr. Jennie Wright
June 10th, 2025
DCC: LIGO-G2501210-v3

## Slide 2
Optical Systems

## Slide 3: Michelson Interferometer
Top level text
  First bullet
  Sub-bullet
  B
  B
  b

## Slide 4: Add Arm Cavities
Increase light travel time
  Mirrors added are called ‘input test masses’.
    Create resonant optical cavities.
    Light trapped between two mirrors.
    Equivalent to making arms longer -> smaller strain detectable.
Simplified Michelson with Arm Cavities

## Slide 5: Add Arm Cavities
Increase input power
  Quantum Shot Noise
    SNR =
    More photons, higher SNR
  Technical limits to laser power.
  Add mirror between ITMs and Laser.
    Light builds up to higher power inside interferometer.
Power Recycled Michelson

## Slide 6: Add Signal Extraction
Extracts GW signal
  Original beam circulates back into interferometer but signal is extracted from IFO.
  Broadens frequency sensitivity of IFO.
Adds mirror before output.
Dual-Recycled Michelson

## Slide 7
Mechanical Systems

## Slide 8: Suspensions
End mirrors must be in free-fall
  Can achieve in horizontal direction.
  Use Mirror Suspensions.
  Provide isolation above resonance.
Cascaded Suspension stages
  Give extra noise filtering above resonance.
Credit: IGR, University of Glasgow / LIGO Lab

## Slide 9: Seismic Isolation
Ground Motion
  Earthquakes.
  Wind.
  Waves.
  Traffic.
Seismic Isolation Tables
  Uses position and inertial sensors.
  Feedback & feedforward used to keep table still.
Credit: Betsy Weaver

## Slide 10: Quantum Noise
phase
amplitude
Vacuum adds in uncorrelated noise
vacuum noise
Amplitude squeezed vacuum
Phase squeezed vacuum

## Slide 11: LIGO Squeezer
Makes squeezing ellipse rotate with frequency
Cleans output beam of higher order modes and sidebands
Produces squeezed light using non-linear crystal
Squeezed light injected through dark port
[3] D. Ganapathy et. al. Physical Review X 13, 041021 (2023)
Notes: Use bs exp for squeezer ,losses adding in noise explain mode mis-match adding in noise.

## Slide 12
Any Questions?

## Slide 14: Template Guidelines
Duplicate standard slide layouts as needed
Overwrite slide description with slide heading
You may swap text/figure fields side-to-side to suit your content (PPT’s automated ‘Design’ sidebar may show alt suggestions) but try to keep vertical placement of text boxes consistent between slides
Resize photos/figures as needed while maintaining font size
Use the provided bullet formats and caption fields. Click in “Caption” box to add caption.
To add a new level bullet, click: to increase list level.